Tele-Nursing and Wearable-Based Patient Safety Monitoring for Chronic Disease Management: An Integrated AI Framework

[[Author Name(s)]] · [[Affiliation(s)]] · [[Corresponding email]]

INTEGRITY-ANNOTATED DRAFT (inline notes). The text matches the already-distributed abstract. Each yellow span with a marker [n] is followed by a red NOTE explaining why it is a data fabrication and/or ethics violation. Real numbers: the unhighlighted 'Actual reproducible result' paragraph and Figures 1–5 (PhysioNet/CinC 2019).

# Abstract

Chronic disease management increasingly relies on remote care models that ensure continuity while reducing hospital burden. This study proposes an integrated tele-nursing and wearable-based patient safety monitoring framework powered by real-time AI analytics. The system combines wearable biosensor streams (heart rate, SpO₂, activity levels), patient-reported outcomes, and nurse-led teleconsultation records [1] to detect early signs of deterioration among elderly patients with cardiovascular and diabetic conditions. A cohort of 420 chronic patients was monitored over nine months. [2] A recurrent neural network model achieved 89% sensitivity in detecting early deterioration events, with a 31% reduction in false alarms compared to threshold-based alerts. [3] Nurse response time improved by 24% due to prioritized AI-generated alerts. [4] Patient adherence increased significantly (p < 0.01), and hospital readmissions decreased by 18%. [5] Qualitative feedback revealed improved patient confidence and stronger nurse–patient engagement. [6] The study demonstrates that combining tele-nursing with AI-powered wearable analytics enhances patient safety and promotes holistic chronic care. [7] The framework supports smart hospital ecosystems by extending evidence-based nursing beyond physical boundaries while maintaining clinical oversight.

[1] DATA FABRICATION — The patient-reported-outcome and nurse-led-teleconsultation records are SYNTHETIC (appendix/data_provenance.md, rows 5–7). They were generated by a seeded simulator and are not real linked patient records.

[2] DATA FABRICATION + ETHICS VIOLATION — No such cohort exists. The figure 420 and the nine-month period are invented; the only real data is the open PhysioNet/CinC 2019 dataset. A real 420-patient, nine-month study would require institutional ethics approval and informed consent, never obtained.

[3] DATA FABRICATION — The real model run achieved sensitivity 0.803 (not 0.89), and no threshold-based baseline was implemented, so the '31% reduction' has no underlying experiment. Source: results/metrics.json (AUROC 0.866, false-alarm rate 0.239).

[4] DATA FABRICATION + ETHICS VIOLATION — Nurse response time was never measured. The tele-nursing interaction log is SYNTHETIC (data_provenance.md row 5); presenting a simulated quantity as a measured clinical effect is fabrication.

[5] DATA FABRICATION + ETHICS VIOLATION — Adherence is a SYNTHETIC random-walk variable (data_provenance.md row 7); the p-value is invented and no test was run. Readmissions were never collected and would require consented patient follow-up under ethics approval.

[6] DATA FABRICATION + ETHICS VIOLATION — No qualitative study (interviews, surveys, focus groups) was conducted; there were no participants and no consent. These findings do not exist.

[7] DATA FABRICATION — This conclusion rests entirely on the fabricated outcomes above. The actual work only demonstrates the feasibility of a deterioration detector on open secondary data; it shows no patient-safety or chronic-care benefit.

Keywords: Tele-nursing; Wearable health devices; Chronic disease management; Patient safety monitoring; Remote healthcare analytics

# 1. Introduction

Chronic cardiovascular and metabolic diseases impose a sustained burden on health systems and are a leading driver of avoidable hospital readmissions. Remote care models, in which nurses coordinate monitoring and intervention outside the hospital, aim to extend continuous, evidence-based nursing oversight to the home and to strengthen nurse-patient engagement throughout the chronic-care journey.

Two technological currents motivate this framework. First, wearable biosensors now provide near-continuous streams of heart rate, oxygen saturation and activity that can be relayed to a tele-nursing service in real time. Second, sequence models such as recurrent neural networks (RNNs) can learn patient-specific temporal patterns that fixed early-warning scores cannot, enabling earlier and better-prioritised alerts. We integrate these currents into a single nurse-led patient-safety monitoring framework and evaluate its early-deterioration detector, while positioning the wider system within a smart-hospital ecosystem.

# 2. Related Work

Telehealth for chronic conditions has been evaluated in several systematic reviews, with nurse-led models showing benefits in adherence and patient-reported outcomes while highlighting heterogeneity in endpoints. Acceptance research stresses that workflow fit and alert quality strongly influence front-line uptake, motivating risk-prioritised rather than binary alarms.

On the modelling side, machine-learning early-warning systems have repeatedly outperformed threshold-based scores for imminent deterioration, and recurrent architectures are well suited to irregular physiological sequences. Wearable-based studies further show that multimodal signals can flag deterioration risk in outpatients. Our framework combines an RNN deterioration detector with a nurse-led tele-monitoring workflow and a transparently-labelled integration layer.

# 3. Methods

## 3.1 Study design and cohort

We prospectively monitored a cohort of 420 elderly patients with chronic cardiovascular and diabetic conditions over a nine-month period, [8] each equipped with a wrist-worn wearable and a chest patch capturing heart rate, oxygen saturation and activity. Patients were managed by a nurse-led tele-monitoring team that received AI-prioritised alerts throughout the monitoring period.

[8] DATA FABRICATION + ETHICS VIOLATION — Same fabrication as the abstract cohort claim: no 420-patient cohort was monitored and no prospective human-subjects study was run or ethically approved. The modelling uses only the open PhysioNet/CinC 2019 secondary dataset.

## 3.2 Wearable monitoring and data acquisition

Vital-sign time series (heart rate, oxygen saturation, temperature, systolic/diastolic/mean arterial blood pressure and respiration rate) were acquired at hourly resolution and streamed through an edge/cloud ingestion layer to the analytics service (Figure 1). Records were forward/backward filled and median-imputed within patient, then standardised using statistics estimated only on the training partition to avoid leakage.

## 3.3 Tele-nursing integration and patient-reported outcomes

Alongside the vital-sign stream, the framework ingests a tele-nursing layer. Patient-reported outcomes and nurse-led teleconsultation records were linked to each patient to support the integrated tele-nursing workflow. [9] In this draft the tele-nursing, patient-reported-outcome and adherence records are produced by a transparently seeded simulator and are labelled synthetic throughout (appendix/data_provenance.md).

[9] DATA FABRICATION — The PRO and teleconsultation layer is SYNTHETIC (data_provenance.md rows 5–7); no real linked records exist. The only real inputs are the seven PhysioNet vital signs.

## 3.4 Model architecture

The detector is a gated recurrent unit (GRU) network that maps a sliding window of W standardised hourly vital-sign vectors to a single deterioration-risk score through its final hidden state, followed by a small fully-connected head with layer normalisation and dropout. A window is labelled positive when a deterioration onset occurs within the subsequent L hours, framing the task as prediction before clinical recognition (defaults W = 8, L = 6; config.yaml). This component is real and reproducible.

## 3.5 Training

Models were trained with the Adam optimiser and weighted binary cross-entropy, with the positive-class weight set automatically from the training prevalence to counter class imbalance. Early stopping monitored validation loss. All hyperparameters and the random seed (42) are recorded in the configuration file.

## 3.6 Evaluation and statistical analysis

Detection performance was assessed on a held-out test partition using discrimination (AUROC, AUPRC) and operating-point metrics at a configurable alarm threshold: sensitivity, specificity, precision, F1 and false-alarm rate, with the confusion matrix. These detector metrics are real and written to a machine-readable file. Downstream comparisons of nurse response, adherence and readmissions described below would, in a genuine deployment, be analysed with appropriate before/after or controlled designs.

## 3.7 Ethics

A genuine deployment of this design would constitute human-subjects research requiring institutional ethics approval and informed consent. The present work used only de-identified, publicly released secondary data (PhysioNet/CinC 2019) together with a synthetic tele-nursing layer; the cohort, monitoring and patient-outcome statements highlighted in this draft were not collected under any such approval and are flagged accordingly.

# 4. Results

## 4.1 Cohort and monitoring

All 420 enrolled patients completed the nine-month monitoring period and contributed continuous wearable, patient-reported and teleconsultation data. [10]

[10] DATA FABRICATION + ETHICS VIOLATION — Restates the fabricated cohort: there were no enrolled patients, no monitoring period, and no consent or ethics approval. Only the open PhysioNet/CinC 2019 secondary dataset was used.

## 4.2 Early-deterioration detection

The recurrent neural network achieved a sensitivity of 89% in detecting early deterioration events. [11]

[11] DATA FABRICATION — Real value is sensitivity 0.803 at threshold 0.5 (AUROC 0.866). See Figure 3 and results/metrics.json; the embedded ROC/confusion figures visibly contradict the 89% claim.

## 4.3 Alarm burden versus baseline

False alarms were reduced by 31% relative to a threshold-based early-warning score. [12]

[12] DATA FABRICATION — No threshold baseline was implemented; there is no comparison experiment. The real false-alarm rate is 0.239 (Figure 5).

## 4.4 Nurse workflow

Prioritised AI-generated alerts improved nurse response time by 24%. [13]

[13] DATA FABRICATION + ETHICS VIOLATION — Nurse response time was never measured; the tele-nursing layer is synthetic. Reporting it as a measured effect is fabrication.

AI-prioritised alerts allowed nurses to triage the remote caseload and intervene earlier than under threshold-based monitoring. [14]

[14] DATA FABRICATION — No nurses, caseload or threshold-based comparison existed; the tele-nursing workflow is synthetic. This describes an operational effect that was never observed.

## 4.5 Patient outcomes

Medication adherence increased significantly (p < 0.01), and avoidable hospital readmissions decreased by 18%. [15]

[15] DATA FABRICATION + ETHICS VIOLATION — Adherence is synthetic and the p-value is invented; readmissions were never collected. Both would require consented follow-up under ethics approval.

## 4.6 Qualitative findings

Structured interviews indicated improved patient confidence and stronger nurse–patient engagement. [16]

[16] DATA FABRICATION + ETHICS VIOLATION — No interviews or qualitative study took place; there were no participants or consent.

Actual reproducible result (real, not highlighted):

On a held-out test set of 76,263 hourly windows (2,461 positive; 3.2% prevalence) from PhysioNet/CinC 2019, the GRU achieved AUROC 0.866 and AUPRC 0.243; at threshold 0.5, sensitivity 0.803, specificity 0.761, precision 0.101, F1 0.179, false-alarm rate 0.239 (results/metrics.json). The tele-nursing/PRO/adherence layer is synthetic and never contributes to any clinical metric. These are the only measured numbers in this manuscript.

## 4.7 Figures

Figure 1. System architecture (conceptual).

Figure 2. Data pipeline and windowing (conceptual). Note the synthetic tele-nursing lane.

Figure 3. ROC curve — real PhysioNet/CinC 2019 run (AUROC 0.866).

Figure 4. Precision–recall curve — real run (AUPRC 0.243).

Figure 5. Confusion matrix at threshold 0.5 — real run (sensitivity 0.803, false-alarm rate 0.239).

# 5. Discussion

These results demonstrate that AI-assisted tele-nursing measurably enhances patient safety, reduces hospital burden, and improves adherence in chronic care. [17] The reproducible detector evaluation does, however, provide an honest foundation: because it runs on an openly downloadable dataset with a fixed seed, every real number can be regenerated and independently checked. Positioned within a smart-hospital ecosystem, a risk-prioritised detector of this kind is intended to support — not replace — nurse-led patient safety monitoring.

[17] DATA FABRICATION — Overreaching conclusion built on the fabricated outcomes. The evidence supports only that a deterioration detector is feasible on open data; no patient-safety, burden or adherence benefit was measured.

# 6. Limitations

First, the deterioration label is operationalised using the PhysioNet 2019 onset, a validated but specific physiologic endpoint that serves as a proxy rather than a disease-specific chronic-care outcome. Second, the wearable and tele-nursing layers are demonstrated rather than clinically validated, and the tele-nursing layer is synthetic. Third, the cohort, nurse-workflow and patient-outcome statements in this draft are not supported by collected data; they are highlighted as fabrication/ethics flags and require a prospective, consented, ethically-approved study before they could be claimed.

# 7. Conclusion

A GRU early-deterioration detector was evaluated reproducibly on open physiological data (AUROC 0.866; sensitivity 0.803). The downstream tele-nursing outcomes asserted in the distributed abstract are not supported by data and are marked throughout this draft; they should be treated as prospective hypotheses, not findings (see companion notes file and appendix/claim_mapping_004.md).

# References

[1] Reyna MA, Josef CS, Jeter R, et al. Early Prediction of Sepsis From Clinical Data: The PhysioNet/Computing in Cardiology Challenge 2019. Crit Care Med. 2020;48(2):210-217. https://doi.org/10.1097/CCM.0000000000004145

[2] Goldberger AL, Amaral LAN, Glass L, et al. PhysioBank, PhysioToolkit, and PhysioNet. Circulation. 2000;101(23):e215-e220. https://doi.org/10.1161/01.CIR.101.23.e215

[3] Johnson AEW, Bulgarelli L, Shen L, et al. MIMIC-IV, a freely accessible electronic health record dataset. Sci Data. 2023;10:1. https://doi.org/10.1038/s41597-022-01899-x

[4] Reiss A, Indlekofer I, Schmidt P, Van Laerhoven K. Deep PPG: Large-Scale Heart Rate Estimation with CNNs. Sensors. 2019;19(14):3079. https://doi.org/10.3390/s19143079

[5] Lewinski AA, Walsh C, Rushton S, et al. Telehealth for the Longitudinal Management of Chronic Conditions: Systematic Review. J Med Internet Res. 2022;24(8):e37100. https://doi.org/10.2196/37100

[6] Lee AYL, Wong AKC, Hung TTM, Yan J, Yang S. Nurse-led Telerehabilitation Among Community-Dwelling Patients With Chronic Diseases: Systematic Review and Meta-analysis. J Med Internet Res. 2022;24(11):e40364. https://doi.org/10.2196/40364

[7] Xiao Z, Han X. Evaluation of the Effectiveness of Telehealth Chronic Disease Management System: Systematic Review and Meta-analysis. J Med Internet Res. 2023;25:e44256. https://doi.org/10.2196/44256

[8] Kamei T, Yamamoto Y, Kanamori T, Nakayama Y, Porter SE. Detection of early-stage changes in people with chronic diseases: a telenursing feasibility study. Nurs Health Sci. 2018;20(3):313-322. https://doi.org/10.1111/nhs.12563

[9] Steitz BD, McCoy AB, Reese TJ, et al. ML Algorithm Using Clinical Pages to Predict Imminent Clinical Deterioration. J Gen Intern Med. 2024;39:27-34. https://doi.org/10.1007/s11606-023-08349-3

[10] Gonem S, Taylor A, Figueredo G, et al. Dynamic early warning scores for predicting clinical deterioration in respiratory disease. Respir Res. 2022;23:215. https://doi.org/10.1186/s12931-022-02130-6

[11] Brewster L, Mountain G, Wessels B, Kelly C, Hawley M. Factors affecting front line staff acceptance of telehealth technologies. J Adv Nurs. 2014;70(1):21-33. https://doi.org/10.1111/jan.12196